## Sheet1
parameter_eqp | unit | form_type | min_value | max_value | option_value | correct_option
Sample flowrate | - | Option | - | - | NORMAL,ABNORMAL | NORMAL
KCI level | % | Min | - | 26 | - | -
KCI tube | - | Option | - | - | GOOD, NOT GOOD | GOOD
Pressure gauge | - | Option | - | - | GOOD, NOT GOOD | GOOD
Regulator | - | Option | - | - | GOOD, NOT GOOD | GOOD
Sensor probe | - | Option | - | - | GOOD, NOT GOOD | GOOD
Electrode | - | Option | - | - | GOOD, NOT GOOD | GOOD
Junction | - | Option | - | - | GOOD, NOT GOOD | GOOD
Sensor holder | - | Option | - | - | GOOD, NOT GOOD | GOOD
Process line pH | *C | Min | 0 | - | - | -
Process line temp. | *C | Min | 0 | - | - | -
pH 7 buffer pH | *C | Min | 0 | - | - | -
pH 7 buffer temp. | *C | Min | 0 | - | - | -
pH 9 buffer pH | *C | Min | 0 | - | - | -
pH 9 buffer temp. | *C | Min | 0 | - | - | -
Judgement | *C | Min | 0 | - | - | -