## Sheet1
parameter_eqp | unit | form_type | min_value | max_value | option_value | correct_option | cc_allowance | ins_parameter | mandatory
Visual Inspection | - | Option | 0 | 0 | NORMAL,ABNORMAL,ALARM | NORMAL | 1 | reading | 0
Room Temperature | *C | Max | 0 | 26 | - | - | 2 | reading | 0
Visual Inspection | - | Option | 0 | 0 | NORMAL,ABNORMAL,ALARM | NORMAL | 3 | reading | 0
Room Temperature | *C | Max | 0 | 26 | - | - | 4 | reading | 0
Transformer Winding Temperature (26W-1) | *C | Max | 0 | 110 | - | - | 5 | reading | 0
Transformer Oil Temperature (26Q-1) | *C | Min | 20 | 0 | - | - | 6 | reading | 0
Transformer Oil Level (33Q-1) | % | Range | 0 | 10 | - | - | 7 | reading | 0
SG Colour | - | Option | 0 | 0 | BLUE,WHITE | BLUE | 8 | reading | 0
Transformer CW Flow Meter (69T-1) | L/min | Range | 1120 | 1500 | - | - | 9 | reading | 0
NOTE
Pada mandatory jika value 1 maka Yes dan jika 0 maka No
Pada cc_allowance artinya GAP