## Sheet1
parameter_eqp | unit | form_type | min_value | max_value | option_value | correct_option
Visual Inspection | - | Option | - | - | NORMAL, ABNORMAL, ALARM | NORMAL
Room Temperature | oC | MAX | - | 26 | -
Visual Inspection | - | Option | - | - | NORMAL, ABNORMAL, ALARM | NORMAL
Room Temperature | oC | MAX | - | 26 | -
Transformer Winding Temperature (26W-1) | oC | MAX | - | 110 | -
Transformer Oil Temperature (26Q-1) | oC | MIN | 20 | - | -
Transformer Oil Level (33Q-1) | % | Range | 0 | 10 | -
SG Colour | - | Option | - | - | BLUE, WHITE | BLUE
Transformer CW Flow Meter (69T-1) | L/min | Range | 1120 | 1500 | -