## Sheet1
parameter_eqp | unit | form_type | min_value | max_value | option_value | correct_option
Visual Inspection | - | Option | 0 | 0 | NORMAL,ABNORMAL,ALARM | NORMAL
Room Temperature | oC | Max | 0 | 26 | -
Visual Inspection | - | Option | 0 | 0 | NORMAL,ABNORMAL,ALARM | NORMAL
Room Temperature | oC | Max | 0 | 26 | -
Transformer Winding Temperature (26W-1) | oC | Max | 0 | 110 | -
Transformer Oil Temperature (26Q-1) | oC | Min | 20 | 0 | -
Transformer Oil Level (33Q-1) | % | Range | 0 | 10 | -
SG Colour | - | Option | 0 | 0 | BLUE,WHITE | BLUE
Transformer CW Flow Meter (69T-1) | L/min | Range | 1120 | 1500 | -